## Instructions
Minnesota Technical Assistance Program (MnTAP)
200 SE Oak St 350-1
Minneapolis, MN 55455
612-624-1300 (800-247-0015)
mntap@umn.edu
MnTAP Water Conservation Calculator
Purpose
Calculator tool for commercial and industrial facilities to evaluate water use at their facilities and estimate water savings from common water efficiency strategies.
References
EPA WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities
Instructions
1. Start with the green Summary tab and enter General Facility Information
2. Use the orange Focus Area tabs to enter information about different processes onsite. Links in the tabs can help with navigation.
3. The Summary tab will sum up totals of water, energy, and cost savings from all the other tabs.
Color key
Blue | Enter values for your facility
White | Do not change these values
Gray | Default value, can be changed
Yellow | Dropdown menu - choose one

## Summary
General Facility Information |  | Units
Cost of water |  |  | Color key
Cost to sewer |  |  | Blue | Enter values for your facility
|  |  | White | Do not change these values
Days of operation per year |  |  | Gray | Default value, can be changed
Shifts per day |  |  | Yellow | Dropdown menu - choose one
Hours per shift
Employees per shift
Percentage male employees (for calculating domestic water use for toilets and urinals) |  | %
Summary of Results
Area | Annual water savings (gal) | Annual cost savings ($)
Domestic Water
Faucets | 0 | 0
Toilets | 0 | 0
Urinals | 0 | 0
Irrigation | 0 | 0
Kitchen
Faucets | 0 | 0
Ice Machines | 0 | 0
Pre-Rinse Sprayers | 0 | 0
Wash-down Sprayers | 0 | 0
Commercial Dishwasher | 0 | 0
Cooling Towers
Single Pass Cooling | 0 | 0
Total | 0 | 0

## Cooling Towers
Return to Summary tab
Units
Annual hours of operation* | hr | *Can estimate with ASHRAE Full Load Equivalent Cooling Hours
Need to enter variables that match one of the input options in the table. Makeup, Blowdown, and/or Evaporation must be in gal/yr. If you only know COC, Evaporation can be
estimated.
Cycles of concentration (1.5 to 6)
Evaporation | gal/yr
Blowdown | gal/yr
Makeup | gal/yr
Conductivity of blowdown
Conductivity of makeup
Color key
COC (calculated based on conductivity) |  |  |  | Blue | Enter values for your facility
COC (calculated based on makeup and blowdown) |  |  |  | White | Do not change these values
COC (calculated based on evaporation and blowdown) |  |  |  | Gray | Default value, can be changed
Annual makeup (calculated based on blowdown and COC) | gal/yr |  |  | Yellow | Dropdown menu - choose one
Annual blowdown (calculated based on evaporation and COC) | gal/yr
Annual evaporation (calculated based on blowdown and COC) | gal/yr
Increase COC to (2 to 10) |  |  | Savings from increasing COC based on Table 6-1 from EPA's WaterSense at Work
New annual water use | gal/yr
New annual evaporation | gal/yr
New annual blowdown | gal/yr
Annual water savings | gal/yr
Annual blowdown reduction (sewer) | gal/yr
Annual cost savings | $/yr
Estimate Evaporation
Condenser water flowrate | gpm
Temperature change across tower | d. F
Evaporation rate | gpm
Annual evaporation (enter the value from cell C34 in cell C8) | gal/yr

## Domestic Water
Return to Summary tab
Faucets |  | Units | Color key
Current flowrate |  | gpm | Blue | Enter values for your facility
ASME flowrate for public lavatory faucets | 0.5 | gpm | White | Do not change these values
Seconds per wash | 20 | s | Gray | Default value, can be changed
Usage per shift | 0.375 | wash/hour/person | Yellow | Dropdown menu - choose one
Current water use | 0 | gal/year
ASME flowrate water use | 0 | gal/yr
Annual water savings | 0 | gal/yr
Annual cost savings | 0 | $/yr
Toilets |  | Units
Are there urinals onsite?
Current gallons per flush |  | gpf
EPA WaterSense gallons per flush | 1.28 | gpf
Current water usage | 0 | gal/year
New water usage | 0 | gal/year
Annual water savings | 0 | gal/year
Annual cost savings | 0 | $/yr
Urinals |  | Units
Current gallons per flush |  | gpf
EPA WaterSense gallons per flush | 0.5 | gpf
Current water usage | 0 | gal/year
New water usage | 0 | gal/year
Annual water savings | 0 | gal/year
Annual cost savings | 0 | $/yr

## Irrigation
Return to Summary tab
Units
Irrigation area |  |  | Color key
Seasonal operation |  | weeks per year | Blue | Enter values for your facility
|  |  | White | Do not change these values
Estimate annual water use based on flow rate |  |  | Gray | Default value, can be changed
Weekly operation |  | cycles per week | Yellow | Dropdown menu - choose one
Runtime |  | minutes per cycle
Flow rate per sprinkler head |  | gpm
Number of sprinkler heads
Annual irrigation water usage | 0 | gal/yr
Required irrigation (assumes 1 in of water is needed per week and 0.75 in rainfall per week) | 0.25 | in/week
Expected annual water use for irrigation | 0 | gal/yr
Excess irrigation | 0 | gal/yr
New operation (change 1, 2, or all 3 options):
New runtime |  | minutes/cycle
New number of days per week |  | days/week
New seasonal operation |  | weeks/year
New annual irrigation water use | 0 | gal/yr
Annual water savings | 0 | gal/yr
Is irrigation deducted from sewer bill?
Annual cost savings (default is no sewer deduction) | 0 | $/yr
Additional MnTAP irrigation resources:
Irrigation System Optimization
Irrigation Tool for Twin Cities Metro Area

## Kitchen
Return to Summary tab
Faucets |  | Units | Color key
Current flowrate |  | gpm | Blue | Enter values for your facility
U.S. DOE flowrate | 2.2 | gpm | White | Do not change these values
Daily use |  | minutes/day | Gray | Default value, can be changed
|  |  | Yellow | Dropdown menu - choose one
Current water use | 0 | gal/year
U.S. DOE flowrate water use | 0 | gal/yr
Annual water savings | 0 | gal/yr
Annual cost savings | 0 | $/yr
Ice Machines |  | Units
Type
Harvest rate |  | lb/day
Current water use rate |  | gal/100 lbs of ice
New harvest rate |  | lb/day
New water use rate |  | gal/100 lbs of ice
Current annual water use | 0 | gal/yr
New annual water use | 0 | gal/yr
Annual water savings | 0 | gal/yr
Annual cost savings (assumes 12 gals of water to make 100 lbs of ice which is not discharged) | 0 | $/yr
Pre-Rinse Sprayers |  | Units
Flowrate |  | gpm
New flowrate | 1.3 | gpm
Average daily use |  | minutes/day
Current annual water use | 0 | gal/yr
New annual water use | 0 | gal/yr
Annual water savings | 0 | gal/yr
Annual cost savings | 0 | $/yr
Wash-down Sprayers |  | Units
Current flowrate |  | gpm
Daily use |  | minutes
Upgrade
Self-closing nozzle | 7 | gpm
Pressure washer | 2 | gpm
Water Broom | 2 | gpm
Current annual water use | 0 | gal/yr
New annual water use | 0 | gal/yr
Annual water savings | 0 | gal/yr
Annual cost savings | 0 | $/yr
Commercial Dishwasher |  | Units
Water use per rack |  | gal/rack
Racks per day |  | racks/day
New water use per rack |  | gal/rack
Current annual water use | 0 | gal/yr
New annual water use | 0 | gal/yr
Annual water savings | 0 | gal/yr
Annual cost savings | 0 | $/yr

## Rainwater Harvesting (hidden)
Return to Summary tab
Annual rainfall in MN varies from 20 to 35 inches across the state. 28 in is the default value, but can be adjusted for your particular area. The DNR provides
a map with the Annual Precipitation Normal. |  | Units
Annual rainfall | 28 | inches | Color key
Surface Collection Area (i.e. roof area) |  | sq. ft | Blue | Enter values for your facility
Collection coefficient | 0.62 | gal/sq. ft | White | Do not change these values
Runoff coefficient | 0.2 |  | Gray | Default value, can be changed
|  |  | Yellow | Dropdown menu - choose one
Effective Harvesting Potential | 0 | gal/year
Cost savings if used for irrigation | 0 | $/yr
Default collection coefficient value and runoff coefficient are based on FEMP's Rainwater Harvesting Tool

## Single Pass Cooling
Return to Summary tab
Common places to find single pass cooling: |  |  | Color key
Point-of-use chillers or other refrigeration |  |  | Blue | Enter values for your facility
Condensers |  |  | White | Do not change these values
Air compressors |  |  | Gray | Default value, can be changed
Air conditioners |  |  | Yellow | Dropdown menu - choose one
Hydraulic equipment
CAT scanners
Degreasers
Welding machines
Vacuum pumps
X-ray equipment
Ice machines
Wok stoves |  | Units
Flowrate |  | gpm
Daily use time |  | min/day
Current annual water use | 0 | gal/year
Current annual cost | 0 | $/yr
Annual water use with recirculated cooling |  | gal/yr
Annual water savings | 0 | gal/yr
Annual cost savings associated with water savings (could vary depending on how single pass cooling is eliminated) | 0 | $/yr

## Background (hidden)
Costs per unit
Cost of water | 0 | $/gal
Cost to sewer | 0 | $/gal
EPA WaterSense toilet usage - F toilet 3X per day, M toilet 1X per day and urinal 2X per day (assumed 8 hr 'day')
Toilet use per hour M | 0.25
Toilet use per hour F | 0.375
Urinal use per hour | 0.125
Cooling towers background calc
COC | 0
E |  | gpm
Units for E, MU, BD
Look up table for percent make up water saved by increasing COC
https://www.epa.gov/sites/default/files/2017-02/documents/watersense-at-work_final_508c3.pdf
% Make up water saved | [6 empty] | New COC
|  | 2 | 2.5 | 3 | 3.5 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| 1.5 | 33 | 44 | 50 | 53 | 56 | 58 | 60 | 61 | 62 | 63 | 64
| 2 |  | 17 | 25 | 30 | 33 | 38 | 40 | 42 | 43 | 44 | 45
| 2.5 |  |  | 10 | 16 | 20 | 25 | 28 | 30 | 31 | 33 | 34
Old COC | 3 |  |  |  | 7 | 11 | 17 | 20 | 22 | 24 | 25 | 26
| 3.5 |  |  |  |  | 5 | 11 | 14 | 17 | 18 | 20 | 21
| 4 | [5 empty] | 6 | 10 | 13 | 14 | 16 | 17
| 5 | [6 empty] | 4 | 7 | 9 | 10 | 11
| 6 | [7 empty] | 3 | 5 | 6 | 7

## Menus (hidden)
Domestic - Shifts | Domestic - Hours | Yes/no | Kitchen - Ice Machine | Kitchen - steam | Kitchen - washdown | General - Water | General - gas | CT | CT - conductivity | Irrigation
1 | 8 | Yes | Air cooled | Boiler-based | Self-closing nozzle | $/1000 gal | $/Btu | gpm | ppm | sq. ft.
2 | 10 | No | Water cooled | Connectionless/Reservoir-based | Pressure washer | $/748 gal | $/therm | gal/yr | uS/cm | acres
3 | 12 |  |  | Direct steam | Water broom